## Sheet7
| Home Electrical Bill / Energy Consumption / Electrical Load Calculator | [9 empty] | Jignesh.Parmar, www.electricalnotes.wordpress.com. Email: jiguparmar@yahoo.com
|  |  | Enter Either Kw or Hp | [7 empty] | Electrical Unit Slab and Other Charges
Total Electrical Load |  |  | 0 | Kw | Calculated Consumption Unit(Kwh) |  |  | 0 |  |  |  | Unit | Rs.
Main ElCB Size (Amp) |  |  | 0 | [7 empty] | First Unit Slab | 100 | 2.7 | Fixed Charge | 10 | Rs
Home Electrical Wiring Detail |  |  |  |  | Home Electrical Bill Detail | [5 empty] | Next Unit Slab | 100 | 3 | Fuel Charge | 0.75 | Rs/Unit
Circuit | Load (Kw) | No of Equipment. (Not more than 10 Nos/circuit ) | Required MCB Size |  | Month | Elect.Meter Reading |  | Actual Consumed Unit | Expected Unit as per Calculation | Billing Amount | Next Unit Slab | 200 | 3.6 | Elect.Charge | 10 | %
[6 empty] | Initial | Final |  |  |  | Next Unit Slab | 200 | 4.1 | Meter Charge | 20 | Rs
MCB-1 | 0 | 0 | 0 |  | Jan |  |  | 0 | 0 |  | Last Unit Slab | 600 | 4.7
MCB-2 | 0 | 0 | 0 |  | Feb |  |  | 0
MCB-3 | 0 | 0 | 0 |  | Mar |  |  | 0
MCB-4 | 0 | 0 | 0 |  | Apr |  |  | 0 |  |  | Quick Calculation of Your of Electrial Bill
MCB-5 | 0 | 0 | 0 |  | May |  |  | 0 |  |  | Unit Consumed(Kwh) |  | 400
MCB-6 | 0 | 0 | 0 |  | Jun |  |  | 0 |  |  | Charges | Amount (Rs)
MCB-7 | 0 | 0 | 0 |  | Jul |  |  | 0 |  |  | Energy Charge | 1290
MCB-8 | 0 | 0 | 0 |  | Aug |  |  | 0 |  |  | Fixed Charge | 10
MCB-9 | 0 | 0 | 0 |  | Sep |  |  | 0 |  |  | Fuel Charge | 300
MCB-10 | 0 | 0 | 0 |  | Oct |  |  | 0 |  |  | Elect. Charge | 160
MCB-11 | 0 | 0 | 0 |  | Nov |  |  | 0 |  |  | Meter Charge | 20
MCB-12 | 0 | 0 | 0 |  | Dec |  |  | 0 |  |  | Other Charge | 0
Total | 0 | 0 |  |  | Total | 0 | 0 | 0 | 0 | 0 | Total Bill Amount | 1780
[11 empty] | 400 | 100 | 100 | 200 | 0 | 0 | 1290
Sr.No | Circuit/ MCB No | Room | Appliance | No | Type of Load (Continious/ NonContinious) | Actual Rating Kw (If You Know) | Avg. Rating of appliance (KW) | Load in Amp | Demand Factor | Total Load in Kw | Average Using Hour/Day | Average Using Day/Month | No of Unit consumed/Day | No of Unit consumed/ Month |  |  |  | Scoket 15 Amp | 1000 | 1 | Continous | MCB-1 | 0 | 0 | 0
1 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Scoket 05 Amp | 100 | 1 | NonContinous | MCB-2 | 0 | 0 | 0 | Kw
2 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Tubelight | 40 | 1 |  | MCB-3 | 0 | 0 | 0 | Hp
3 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Freeze | 200 | 1 |  | MCB-4 | 0 | 0 | 0
4 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | A.C 1.5T | 2000 | 0.6 |  | MCB-5 | 0 | 0 | 0
5 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | A.C 2T | 3500 | 0.6 |  | MCB-6 | 0 | 0 | 0
6 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | T.V | 200 | 1 |  | MCB-7 | 0 | 0 | 0
7 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Waching Machine | 700 | 1 |  | MCB-8 | 0 | 0 | 0
8 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Iron | 1000 | 1 |  | MCB-9 | 0 | 0 | 0
9 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Air Cooler | 200 | 1 |  | MCB-10 | 0 | 0 | 0
10 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Room Heater | 2000 | 1 |  | MCB-11 | 0 | 0 | 0
11 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Fan | 100 | 1 |  | MCB-12 | 0 | 0 | 0
12 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Exhaust Fan | 150 | 1 |  | Total | 0 | 0 | 0
13 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Water Heater | 1500 | 1 |  | MCCB/ELCB | Size
14 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Water Geyser | 1700 | 1 |  | 0.5 | 6
15 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Toster | 750 | 1 |  | 1 | 6
16 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Computer | 200 | 1 |  | 2 | 6
17 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Mixer | 200 | 1 |  | 4 | 6
18 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 5w | 5 | 1 |  | 6 | 10
19 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 10w | 10 | 1 |  | 10 | 16
20 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 15w | 15 | 1 |  | 16 | 20
21 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 20w | 20 | 1 |  | 20 | 25
22 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 25w | 25 | 1 |  | 25 | 32
23 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 40w | 20 | 1 |  | 32 | 40
24 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | CFL Bulb 80w | 20 | 1 |  | 40 | 45
25 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Bulb |  | 1 |  | 45 | 50
26 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Music System | 500 | 1 |  | 50 | 63
27 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 0.5 Hp | 373 | 0.6 |  | 63 | 80
28 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump .75 Hp | 559.5 | 0.6 |  | 80 | 100
29 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 1Hp | 746 | 0.6 |  | 100 | 125
30 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 1.5 Hp | 1119 | 0.6 |  | 125 | 225
31 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 2 Hp | 1492 | 0.6 |  | 225 | 600
32 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 3 Hp | 2238 | 0.6 |  | 600 | 800
33 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 5 Hp | 3730 | 0.6 |  | 800 | 1600
34 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 7.5 Hp | 5595 | 0.6 |  | 1600 | 2000
35 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Motor-Pump 10 Hp | 7460 | 0.6 |  | 2000 | 3000
36 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Floormill | 800 | 1 |  | 3000 | 3200
37 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Water Purifier | 200 | 1 |  | 3200 | 4000
38 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | Other |  | 1 |  | 4000 | 5000
39 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [5 empty] | 5000 | 6000
40 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [5 empty] | 6000 | 6000
41 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
42 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
43 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
44 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
45 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
46 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
47 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
48 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
49 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
50 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
51 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
52 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
53 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
54 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
55 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
56 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
57 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
58 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
59 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
60 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
61 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
62 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
63 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
64 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
65 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
66 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
67 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
68 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
69 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
70 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
71 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
72 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
73 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
74 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
75 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
76 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
77 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
78 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
79 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
80 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
81 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
82 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
83 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
84 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
85 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
86 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
87 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
88 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
89 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
90 | [6 empty] | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
TOTAL | [6 empty] | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Note on P13: Final Reading - Initial Rading of Energy Meter (KWHH)